## Groundwater Level
ID	Date and Time	Parameter	Value	Unit	Methodology
As recorded in the original database.	The date and time of the measurement or sampling (yyyy-mm-dd hh:MM:ss).	One of the following: / • Water depth [from the ground surface] / • Water depth [from the top of the well] / • Water level elevation a.m.s.l.	The numeric value of the measurement.	Unit must be either: / • m / • ft	Explain the methodology used to collect the data, in the field and eventually in the lab.
1048804	2024-01-19 06:00:00 UTC	Water depth [from the ground surface]	96.048576	m
1048804	2023-01-12 06:00:00 UTC	Water depth [from the ground surface]	95.621856	m
1048804	2022-02-09 06:00:00 UTC	Water depth [from the ground surface]	95.18904	m
1048804	2020-01-31 06:00:00 UTC	Water depth [from the ground surface]	94.314264	m
1048804	2019-01-30 06:00:00 UTC	Water depth [from the ground surface]	93.747336	m
1048804	2018-01-19 06:00:00 UTC	Water depth [from the ground surface]	93.20784	m
1048804	2017-01-31 06:00:00 UTC	Water depth [from the ground surface]	93.037152	m
1048804	2016-01-28 06:00:00 UTC	Water depth [from the ground surface]	92.8878	m
1048804	2015-01-06 06:00:00 UTC	Water depth [from the ground surface]	92.424504	m
1048804	2014-01-09 06:00:00 UTC	Water depth [from the ground surface]	91.632024	m
1048804	2012-12-27 06:00:00 UTC	Water depth [from the ground surface]	90.717624	m
1048804	2012-02-03 06:00:00 UTC	Water depth [from the ground surface]	89.294208	m
1048804	2011-01-19 06:00:00 UTC	Water depth [from the ground surface]	88.062816	m

## Groundwater Quality
ID	Date and Time	Parameter	Value	Unit	Methodology
As recorded in the original database.	The date and time of the measurement or sampling (yyyy-mm-dd hh:MM:ss)	One of the following: / • EC / • pH / • T / • NO3 / • Cl / • Ca / • Mg / • Na / • K / • HCO3 / • SO4 / • TDS / • FC / • FS / • E Coli / • F / • As / • U / • NH4 / • Fe / • Mn / • P	The numeric value of the measurement.	One of the following: / • (blank) / • S/m / • μS/cm / • °C / • °F / • °K / • mg/L / • ppm / • ng/L / • μg/L / • cfu per mL / • cfu per 100 ml	Explain the methodology used to collect the data, in the field and eventually in the lab.

## Abstraction-Discharge
ID	Date and Time	Parameter	Value	Unit	Methodology
As recorded in the original database.	The date and time of the measurement or sampling (yyyy-mm-dd hh:MM:ss)	One of the following: / • Abstraction / • Spring discharge	The numeric value of the measurement.	Unit must be either: / • m³/s / • m³/m / • m³/h / • m³/d / • ft³/s / • ft³/m / • ft³/h / • ft³/d / • L/s / • L/m / • L/h / • L/d	Explain the methodology used to collect the data, in the field and eventually in the lab.