## Groundwater Level
ID	Date and Time	Parameter	Value	Unit	Methodology
As recorded in the original database.	The date and time of the measurement or sampling (yyyy-mm-dd hh:MM:ss).	One of the following: / • Water depth [from the ground surface] / • Water depth [from the top of the well] / • Water level elevation a.m.s.l.	The numeric value of the measurement.	Unit must be either: / • m / • ft	Explain the methodology used to collect the data, in the field and eventually in the lab.
1152410	2023-02-28 06:00:00 UTC	Water depth [from the ground surface]	82.360008	m
1152410	2022-02-22 06:00:00 UTC	Water depth [from the ground surface]	81.750408	m
1152410	2021-02-04 06:00:00 UTC	Water depth [from the ground surface]	80.595216	m
1152410	2020-01-30 06:00:00 UTC	Water depth [from the ground surface]	80.369664	m
1152410	2019-01-31 06:00:00 UTC	Water depth [from the ground surface]	79.257144	m
1152410	2018-02-21 06:00:00 UTC	Water depth [from the ground surface]	79.08036	m
1152410	2017-02-02 06:00:00 UTC	Water depth [from the ground surface]	78.693264	m
1152410	2016-01-15 06:00:00 UTC	Water depth [from the ground surface]	77.96784	m
1152410	2015-02-20 06:00:00 UTC	Water depth [from the ground surface]	77.577696	m
1152410	2014-01-07 06:00:00 UTC	Water depth [from the ground surface]	77.214984	m
1152410	2013-10-25 06:00:00 UTC	Water depth [from the ground surface]	77.568552	m
1152410	2005-01-13 06:00:00 UTC	Water depth [from the ground surface]	69.4944	m

## Groundwater Quality
ID	Date and Time	Parameter	Value	Unit	Methodology
As recorded in the original database.	The date and time of the measurement or sampling (yyyy-mm-dd hh:MM:ss)	One of the following: / • EC / • pH / • T / • NO3 / • Cl / • Ca / • Mg / • Na / • K / • HCO3 / • SO4 / • TDS / • FC / • FS / • E Coli / • F / • As / • U / • NH4 / • Fe / • Mn / • P	The numeric value of the measurement.	One of the following: / • (blank) / • S/m / • μS/cm / • °C / • °F / • °K / • mg/L / • ppm / • ng/L / • μg/L / • cfu per mL / • cfu per 100 ml	Explain the methodology used to collect the data, in the field and eventually in the lab.

## Abstraction-Discharge
ID	Date and Time	Parameter	Value	Unit	Methodology
As recorded in the original database.	The date and time of the measurement or sampling (yyyy-mm-dd hh:MM:ss)	One of the following: / • Abstraction / • Spring discharge	The numeric value of the measurement.	Unit must be either: / • m³/s / • m³/m / • m³/h / • m³/d / • ft³/s / • ft³/m / • ft³/h / • ft³/d / • L/s / • L/m / • L/h / • L/d	Explain the methodology used to collect the data, in the field and eventually in the lab.