## Groundwater Level
ID	Date and Time	Parameter	Value	Unit	Methodology
As recorded in the original database.	The date and time of the measurement or sampling (yyyy-mm-dd hh:MM:ss).	One of the following: / • Water depth [from the ground surface] / • Water depth [from the top of the well] / • Water level elevation a.m.s.l.	The numeric value of the measurement.	Unit must be either: / • m / • ft	Explain the methodology used to collect the data, in the field and eventually in the lab.
139E0013	2019-12-11 22:45:00 UTC	Water depth [from the ground surface]	62.526672	m
139E0013	2018-07-25 19:57:00 UTC	Water depth [from the ground surface]	62.761368	m
139E0013	2017-12-04 22:36:00 UTC	Water depth [from the ground surface]	62.264544	m
139E0013	2015-11-03 06:00:00 UTC	Water depth [from the ground surface]	61.792104	m
139E0013	2009-10-07 06:00:00 UTC	Water depth [from the ground surface]	60.798456	m
139E0013	2004-05-20 06:00:00 UTC	Water depth [from the ground surface]	59.963304	m
139E0013	1998-12-16 06:00:00 UTC	Water depth [from the ground surface]	59.719464	m
139E0013	1992-12-17 06:00:00 UTC	Water depth [from the ground surface]	56.714136	m
139E0013	1987-08-12 06:00:00 UTC	Water depth [from the ground surface]	52.02936	m
139E0013	1982-11-17 06:00:00 UTC	Water depth [from the ground surface]	50.5968	m
139E0013	1978-10-18 06:00:00 UTC	Water depth [from the ground surface]	42.672	m
139E0013	1968-09-27 06:00:00 UTC	Water depth [from the ground surface]	39.0144	m

## Groundwater Quality
ID	Date and Time	Parameter	Value	Unit	Methodology
As recorded in the original database.	The date and time of the measurement or sampling (yyyy-mm-dd hh:MM:ss)	One of the following: / • EC / • pH / • T / • NO3 / • Cl / • Ca / • Mg / • Na / • K / • HCO3 / • SO4 / • TDS / • FC / • FS / • E Coli / • F / • As / • U / • NH4 / • Fe / • Mn / • P	The numeric value of the measurement.	One of the following: / • (blank) / • S/m / • μS/cm / • °C / • °F / • °K / • mg/L / • ppm / • ng/L / • μg/L / • cfu per mL / • cfu per 100 ml	Explain the methodology used to collect the data, in the field and eventually in the lab.

## Abstraction-Discharge
ID	Date and Time	Parameter	Value	Unit	Methodology
As recorded in the original database.	The date and time of the measurement or sampling (yyyy-mm-dd hh:MM:ss)	One of the following: / • Abstraction / • Spring discharge	The numeric value of the measurement.	Unit must be either: / • m³/s / • m³/m / • m³/h / • m³/d / • ft³/s / • ft³/m / • ft³/h / • ft³/d / • L/s / • L/m / • L/h / • L/d	Explain the methodology used to collect the data, in the field and eventually in the lab.