## Groundwater Level
ID	Date and Time	Parameter	Value	Unit	Methodology
As recorded in the original database.	The date and time of the measurement or sampling (yyyy-mm-dd hh:MM:ss).	One of the following: / • Water depth [from the ground surface] / • Water depth [from the top of the well] / • Water level elevation a.m.s.l.	The numeric value of the measurement.	Unit must be either: / • m / • ft	Explain the methodology used to collect the data, in the field and eventually in the lab.
149841	2022-03-03 07:00:00 UTC	Water depth [from the ground surface]	67.60464	m
149841	2021-01-20 07:00:00 UTC	Water depth [from the ground surface]	67.39128	m
149841	2020-01-20 07:00:00 UTC	Water depth [from the ground surface]	60.83808	m
149841	2019-02-27 07:00:00 UTC	Water depth [from the ground surface]	51.57216	m
149841	2018-01-09 07:00:00 UTC	Water depth [from the ground surface]	51.02352	m
149841	2017-03-01 07:00:00 UTC	Water depth [from the ground surface]	51.69408	m
149841	2015-01-26 07:00:00 UTC	Water depth [from the ground surface]	51.9684	m
149841	2014-02-27 07:00:00 UTC	Water depth [from the ground surface]	51.48072	m
149841	2013-02-13 07:00:00 UTC	Water depth [from the ground surface]	50.99304	m
149841	2012-02-22 07:00:00 UTC	Water depth [from the ground surface]	50.65776	m
149841	2011-01-05 07:00:00 UTC	Water depth [from the ground surface]	50.41392	m
149841	2010-02-15 07:00:00 UTC	Water depth [from the ground surface]	50.5968	m

## Groundwater Quality
ID	Date and Time	Parameter	Value	Unit	Methodology
As recorded in the original database.	The date and time of the measurement or sampling (yyyy-mm-dd hh:MM:ss)	One of the following: / • EC / • pH / • T / • NO3 / • Cl / • Ca / • Mg / • Na / • K / • HCO3 / • SO4 / • TDS / • FC / • FS / • E Coli / • F / • As / • U / • NH4 / • Fe / • Mn / • P	The numeric value of the measurement.	One of the following: / • (blank) / • S/m / • μS/cm / • °C / • °F / • °K / • mg/L / • ppm / • ng/L / • μg/L / • cfu per mL / • cfu per 100 ml	Explain the methodology used to collect the data, in the field and eventually in the lab.

## Abstraction-Discharge
ID	Date and Time	Parameter	Value	Unit	Methodology
As recorded in the original database.	The date and time of the measurement or sampling (yyyy-mm-dd hh:MM:ss)	One of the following: / • Abstraction / • Spring discharge	The numeric value of the measurement.	Unit must be either: / • m³/s / • m³/m / • m³/h / • m³/d / • ft³/s / • ft³/m / • ft³/h / • ft³/d / • L/s / • L/m / • L/h / • L/d	Explain the methodology used to collect the data, in the field and eventually in the lab.