## Groundwater Level
ID	Date and Time	Parameter	Value	Unit	Methodology
As recorded in the original database.	The date and time of the measurement or sampling (yyyy-mm-dd hh:MM:ss).	One of the following: / • Water depth [from the ground surface] / • Water depth [from the top of the well] / • Water level elevation a.m.s.l.	The numeric value of the measurement.	Unit must be either: / • m / • ft	Explain the methodology used to collect the data, in the field and eventually in the lab.
149933	2024-02-19 07:00:00 UTC	Water depth [from the ground surface]	28.71216	m
149933	2023-03-12 07:00:00 UTC	Water depth [from the ground surface]	29.13888	m
149933	2022-03-12 07:00:00 UTC	Water depth [from the ground surface]	29.2608	m
149933	2021-02-20 07:00:00 UTC	Water depth [from the ground surface]	29.5656	m
149933	2020-04-08 06:00:00 UTC	Water depth [from the ground surface]	29.2608	m
149933	2019-02-14 07:00:00 UTC	Water depth [from the ground surface]	28.6512	m
149933	2018-02-15 07:00:00 UTC	Water depth [from the ground surface]	27.432	m
149933	2017-02-06 07:00:00 UTC	Water depth [from the ground surface]	27.1272	m
149933	2016-02-16 07:00:00 UTC	Water depth [from the ground surface]	26.8224	m
149933	2015-01-29 07:00:00 UTC	Water depth [from the ground surface]	26.33472	m
149933	2014-02-24 07:00:00 UTC	Water depth [from the ground surface]	26.2128	m
149933	2013-01-26 07:00:00 UTC	Water depth [from the ground surface]	26.5176	m
149933	2012-02-28 07:00:00 UTC	Water depth [from the ground surface]	24.9936	m
149933	2011-02-05 07:00:00 UTC	Water depth [from the ground surface]	24.6888	m

## Groundwater Quality
ID	Date and Time	Parameter	Value	Unit	Methodology
As recorded in the original database.	The date and time of the measurement or sampling (yyyy-mm-dd hh:MM:ss)	One of the following: / • EC / • pH / • T / • NO3 / • Cl / • Ca / • Mg / • Na / • K / • HCO3 / • SO4 / • TDS / • FC / • FS / • E Coli / • F / • As / • U / • NH4 / • Fe / • Mn / • P	The numeric value of the measurement.	One of the following: / • (blank) / • S/m / • μS/cm / • °C / • °F / • °K / • mg/L / • ppm / • ng/L / • μg/L / • cfu per mL / • cfu per 100 ml	Explain the methodology used to collect the data, in the field and eventually in the lab.

## Abstraction-Discharge
ID	Date and Time	Parameter	Value	Unit	Methodology
As recorded in the original database.	The date and time of the measurement or sampling (yyyy-mm-dd hh:MM:ss)	One of the following: / • Abstraction / • Spring discharge	The numeric value of the measurement.	Unit must be either: / • m³/s / • m³/m / • m³/h / • m³/d / • ft³/s / • ft³/m / • ft³/h / • ft³/d / • L/s / • L/m / • L/h / • L/d	Explain the methodology used to collect the data, in the field and eventually in the lab.