## Groundwater Level
ID	Date and Time	Parameter	Value	Unit	Methodology
As recorded in the original database.	The date and time of the measurement or sampling (yyyy-mm-dd hh:MM:ss).	One of the following: / • Water depth [from the ground surface] / • Water depth [from the top of the well] / • Water level elevation a.m.s.l.	The numeric value of the measurement.	Unit must be either: / • m / • ft	Explain the methodology used to collect the data, in the field and eventually in the lab.
150502	2024-08-02 06:00:00 UTC	Water depth [from the ground surface]	61.270896	m
150502	2023-07-31 06:00:00 UTC	Water depth [from the ground surface]	61.344048	m
150502	2022-08-21 06:00:00 UTC	Water depth [from the ground surface]	61.734192	m
150502	2021-07-29 06:00:00 UTC	Water depth [from the ground surface]	61.749432	m
150502	2020-09-27 06:00:00 UTC	Water depth [from the ground surface]	61.694568	m
150502	2019-08-06 06:00:00 UTC	Water depth [from the ground surface]	61.612272	m
150502	2018-08-21 06:00:00 UTC	Water depth [from the ground surface]	61.58484	m
150502	2017-09-20 06:00:00 UTC	Water depth [from the ground surface]	61.47816	m
150502	2016-09-14 06:00:00 UTC	Water depth [from the ground surface]	61.657992	m
150502	2015-09-23 06:00:00 UTC	Water depth [from the ground surface]	61.679328	m
150502	2014-09-30 06:00:00 UTC	Water depth [from the ground surface]	61.545216	m
150502	2013-10-02 06:00:00 UTC	Water depth [from the ground surface]	61.50864	m

## Groundwater Quality
ID	Date and Time	Parameter	Value	Unit	Methodology
As recorded in the original database.	The date and time of the measurement or sampling (yyyy-mm-dd hh:MM:ss)	One of the following: / • EC / • pH / • T / • NO3 / • Cl / • Ca / • Mg / • Na / • K / • HCO3 / • SO4 / • TDS / • FC / • FS / • E Coli / • F / • As / • U / • NH4 / • Fe / • Mn / • P	The numeric value of the measurement.	One of the following: / • (blank) / • S/m / • μS/cm / • °C / • °F / • °K / • mg/L / • ppm / • ng/L / • μg/L / • cfu per mL / • cfu per 100 ml	Explain the methodology used to collect the data, in the field and eventually in the lab.

## Abstraction-Discharge
ID	Date and Time	Parameter	Value	Unit	Methodology
As recorded in the original database.	The date and time of the measurement or sampling (yyyy-mm-dd hh:MM:ss)	One of the following: / • Abstraction / • Spring discharge	The numeric value of the measurement.	Unit must be either: / • m³/s / • m³/m / • m³/h / • m³/d / • ft³/s / • ft³/m / • ft³/h / • ft³/d / • L/s / • L/m / • L/h / • L/d	Explain the methodology used to collect the data, in the field and eventually in the lab.