## Groundwater Level
ID	Date and Time	Parameter	Value	Unit	Methodology
As recorded in the original database.	The date and time of the measurement or sampling (yyyy-mm-dd hh:MM:ss).	One of the following: / • Water depth [from the ground surface] / • Water depth [from the top of the well] / • Water level elevation a.m.s.l.	The numeric value of the measurement.	Unit must be either: / • m / • ft	Explain the methodology used to collect the data, in the field and eventually in the lab.
3455903	2024-02-16 17:45:00 UTC	Water depth [from the ground surface]	95.688912	m
3455903	2022-11-18 14:55:00 UTC	Water depth [from the ground surface]	100.068888	m
3455903	2019-11-18 18:55:00 UTC	Water depth [from the ground surface]	92.79636	m
3455903	2018-11-07 00:10:00 UTC	Water depth [from the ground surface]	93.93936	m
3455903	2017-11-13 20:48:00 UTC	Water depth [from the ground surface]	92.26296	m
3455903	2016-11-15 19:00:00 UTC	Water depth [from the ground surface]	93.110304	m
3455903	2015-12-01 06:00:00 UTC	Water depth [from the ground surface]	89.24544	m
3455903	2014-11-06 06:00:00 UTC	Water depth [from the ground surface]	89.714832	m
3455903	2012-11-16 06:00:00 UTC	Water depth [from the ground surface]	88.27008	m
3455903	1962-03-21 06:00:00 UTC	Water depth [from the ground surface]	52.1208	m
3455903	1962-01-21 06:00:00 UTC	Water depth [from the ground surface]	46.9392	m

## Groundwater Quality
ID	Date and Time	Parameter	Value	Unit	Methodology
As recorded in the original database.	The date and time of the measurement or sampling (yyyy-mm-dd hh:MM:ss)	One of the following: / • EC / • pH / • T / • NO3 / • Cl / • Ca / • Mg / • Na / • K / • HCO3 / • SO4 / • TDS / • FC / • FS / • E Coli / • F / • As / • U / • NH4 / • Fe / • Mn / • P	The numeric value of the measurement.	One of the following: / • (blank) / • S/m / • μS/cm / • °C / • °F / • °K / • mg/L / • ppm / • ng/L / • μg/L / • cfu per mL / • cfu per 100 ml	Explain the methodology used to collect the data, in the field and eventually in the lab.

## Abstraction-Discharge
ID	Date and Time	Parameter	Value	Unit	Methodology
As recorded in the original database.	The date and time of the measurement or sampling (yyyy-mm-dd hh:MM:ss)	One of the following: / • Abstraction / • Spring discharge	The numeric value of the measurement.	Unit must be either: / • m³/s / • m³/m / • m³/h / • m³/d / • ft³/s / • ft³/m / • ft³/h / • ft³/d / • L/s / • L/m / • L/h / • L/d	Explain the methodology used to collect the data, in the field and eventually in the lab.