## Groundwater Level
ID	Date and Time	Parameter	Value	Unit	Methodology
As recorded in the original database.	The date and time of the measurement or sampling (yyyy-mm-dd hh:MM:ss).	One of the following: / • Water depth [from the ground surface] / • Water depth [from the top of the well] / • Water level elevation a.m.s.l.	The numeric value of the measurement.	Unit must be either: / • m / • ft	Explain the methodology used to collect the data, in the field and eventually in the lab.
372551099522301	2025-01-20 15:03:00 UTC	Water depth [from the ground surface]	36.380928	m
372551099522301	2024-01-05 15:01:00 UTC	Water depth [from the ground surface]	36.295584	m
372551099522301	2023-01-06 20:21:00 UTC	Water depth [from the ground surface]	36.594288	m
372551099522301	2023-01-06 19:45:00 UTC	Water depth [from the ground surface]	36.411408	m
372551099522301	2022-01-06 14:48:00 UTC	Water depth [from the ground surface]	36.563808	m
372551099522301	2021-01-07 14:22:00 UTC	Water depth [from the ground surface]	36.7284	m
372551099522301	2020-01-05 14:28:00 UTC	Water depth [from the ground surface]	36.4236	m
372551099522301	2019-01-05 19:13:00 UTC	Water depth [from the ground surface]	36.338256	m
372551099522301	2018-01-05 14:32:00 UTC	Water depth [from the ground surface]	36.493704	m
372551099522301	2017-01-06 20:27:10 UTC	Water depth [from the ground surface]	36.502848	m

## Groundwater Quality
ID	Date and Time	Parameter	Value	Unit	Methodology
As recorded in the original database.	The date and time of the measurement or sampling (yyyy-mm-dd hh:MM:ss)	One of the following: / • EC / • pH / • T / • NO3 / • Cl / • Ca / • Mg / • Na / • K / • HCO3 / • SO4 / • TDS / • FC / • FS / • E Coli / • F / • As / • U / • NH4 / • Fe / • Mn / • P	The numeric value of the measurement.	One of the following: / • (blank) / • S/m / • μS/cm / • °C / • °F / • °K / • mg/L / • ppm / • ng/L / • μg/L / • cfu per mL / • cfu per 100 ml	Explain the methodology used to collect the data, in the field and eventually in the lab.

## Abstraction-Discharge
ID	Date and Time	Parameter	Value	Unit	Methodology
As recorded in the original database.	The date and time of the measurement or sampling (yyyy-mm-dd hh:MM:ss)	One of the following: / • Abstraction / • Spring discharge	The numeric value of the measurement.	Unit must be either: / • m³/s / • m³/m / • m³/h / • m³/d / • ft³/s / • ft³/m / • ft³/h / • ft³/d / • L/s / • L/m / • L/h / • L/d	Explain the methodology used to collect the data, in the field and eventually in the lab.