## Groundwater Level
ID	Date and Time	Parameter	Value	Unit	Methodology
As recorded in the original database.	The date and time of the measurement or sampling (yyyy-mm-dd hh:MM:ss).	One of the following: / • Water depth [from the ground surface] / • Water depth [from the top of the well] / • Water level elevation a.m.s.l.	The numeric value of the measurement.	Unit must be either: / • m / • ft	Explain the methodology used to collect the data, in the field and eventually in the lab.
374141099240301	2025-01-24 16:38:00 UTC	Water depth [from the ground surface]	24.731472	m
374141099240301	2024-01-24 21:30:00 UTC	Water depth [from the ground surface]	24.42972	m
374141099240301	2023-01-11 21:46:00 UTC	Water depth [from the ground surface]	23.914608	m
374141099240301	2022-01-18 23:15:00 UTC	Water depth [from the ground surface]	23.426928	m
374141099240301	2021-01-20 16:42:00 UTC	Water depth [from the ground surface]	23.176992	m
374141099240301	2020-01-07 19:49:00 UTC	Water depth [from the ground surface]	23.097744	m
374141099240301	2019-01-08 23:01:00 UTC	Water depth [from the ground surface]	23.237952	m
374141099240301	2018-01-03 19:01:00 UTC	Water depth [from the ground surface]	22.95144	m
374141099240301	2017-01-25 15:02:33 UTC	Water depth [from the ground surface]	22.817328	m
374141099240301	2015-12-30 21:53:24 UTC	Water depth [from the ground surface]	23.085552	m
374141099240301	2015-01-08 16:22:56 UTC	Water depth [from the ground surface]	22.76856	m

## Groundwater Quality
ID	Date and Time	Parameter	Value	Unit	Methodology
As recorded in the original database.	The date and time of the measurement or sampling (yyyy-mm-dd hh:MM:ss)	One of the following: / • EC / • pH / • T / • NO3 / • Cl / • Ca / • Mg / • Na / • K / • HCO3 / • SO4 / • TDS / • FC / • FS / • E Coli / • F / • As / • U / • NH4 / • Fe / • Mn / • P	The numeric value of the measurement.	One of the following: / • (blank) / • S/m / • μS/cm / • °C / • °F / • °K / • mg/L / • ppm / • ng/L / • μg/L / • cfu per mL / • cfu per 100 ml	Explain the methodology used to collect the data, in the field and eventually in the lab.

## Abstraction-Discharge
ID	Date and Time	Parameter	Value	Unit	Methodology
As recorded in the original database.	The date and time of the measurement or sampling (yyyy-mm-dd hh:MM:ss)	One of the following: / • Abstraction / • Spring discharge	The numeric value of the measurement.	Unit must be either: / • m³/s / • m³/m / • m³/h / • m³/d / • ft³/s / • ft³/m / • ft³/h / • ft³/d / • L/s / • L/m / • L/h / • L/d	Explain the methodology used to collect the data, in the field and eventually in the lab.