## Groundwater Level
ID	Date and Time	Parameter	Value	Unit	Methodology
As recorded in the original database.	The date and time of the measurement or sampling (yyyy-mm-dd hh:MM:ss).	One of the following: / • Water depth [from the ground surface] / • Water depth [from the top of the well] / • Water level elevation a.m.s.l.	The numeric value of the measurement.	Unit must be either: / • m / • ft	Explain the methodology used to collect the data, in the field and eventually in the lab.
375953101124601	2024-12-31 19:16:00 UTC	Water depth [from the ground surface]	38.063424	m
375953101124601	2024-01-03 22:58:00 UTC	Water depth [from the ground surface]	38.913816	m
375953101124601	2023-01-05 18:46:00 UTC	Water depth [from the ground surface]	39.499032	m
375953101124601	2022-01-03 19:29:00 UTC	Water depth [from the ground surface]	36.207192	m
375953101124601	2021-01-08 15:32:00 UTC	Water depth [from the ground surface]	34.54908	m
375953101124601	2020-02-26 17:14:00 UTC	Water depth [from the ground surface]	34.204656	m
375953101124601	2020-01-08 20:18:00 UTC	Water depth [from the ground surface]	36.082224	m
375953101124601	2019-01-10 16:37:00 UTC	Water depth [from the ground surface]	31.117032	m
375953101124601	2018-01-04 19:51:00 UTC	Water depth [from the ground surface]	29.605224	m
375953101124601	2017-01-11 19:15:51 UTC	Water depth [from the ground surface]	31.4706	m
375953101124601	2016-01-13 15:38:43 UTC	Water depth [from the ground surface]	33.396936	m

## Groundwater Quality
ID	Date and Time	Parameter	Value	Unit	Methodology
As recorded in the original database.	The date and time of the measurement or sampling (yyyy-mm-dd hh:MM:ss)	One of the following: / • EC / • pH / • T / • NO3 / • Cl / • Ca / • Mg / • Na / • K / • HCO3 / • SO4 / • TDS / • FC / • FS / • E Coli / • F / • As / • U / • NH4 / • Fe / • Mn / • P	The numeric value of the measurement.	One of the following: / • (blank) / • S/m / • μS/cm / • °C / • °F / • °K / • mg/L / • ppm / • ng/L / • μg/L / • cfu per mL / • cfu per 100 ml	Explain the methodology used to collect the data, in the field and eventually in the lab.

## Abstraction-Discharge
ID	Date and Time	Parameter	Value	Unit	Methodology
As recorded in the original database.	The date and time of the measurement or sampling (yyyy-mm-dd hh:MM:ss)	One of the following: / • Abstraction / • Spring discharge	The numeric value of the measurement.	Unit must be either: / • m³/s / • m³/m / • m³/h / • m³/d / • ft³/s / • ft³/m / • ft³/h / • ft³/d / • L/s / • L/m / • L/h / • L/d	Explain the methodology used to collect the data, in the field and eventually in the lab.