## Groundwater Level
ID	Date and Time	Parameter	Value	Unit	Methodology
As recorded in the original database.	The date and time of the measurement or sampling (yyyy-mm-dd hh:MM:ss).	One of the following: / • Water depth [from the ground surface] / • Water depth [from the top of the well] / • Water level elevation a.m.s.l.	The numeric value of the measurement.	Unit must be either: / • m / • ft	Explain the methodology used to collect the data, in the field and eventually in the lab.
375957098093701	2025-01-21 19:57:00 UTC	Water depth [from the ground surface]	4.151376	m
375957098093701	2023-12-28 20:17:00 UTC	Water depth [from the ground surface]	4.06908	m
375957098093701	2023-01-12 22:09:00 UTC	Water depth [from the ground surface]	3.892296	m
375957098093701	2022-01-12 21:07:00 UTC	Water depth [from the ground surface]	3.313176	m
375957098093701	2021-01-19 20:05:00 UTC	Water depth [from the ground surface]	3.048	m
375957098093701	2019-12-20 13:54:00 UTC	Water depth [from the ground surface]	2.46888	m
375957098093701	2019-01-03 17:27:00 UTC	Water depth [from the ground surface]	2.231136	m
375957098093701	2018-01-08 19:45:00 UTC	Water depth [from the ground surface]	3.029712	m
375957098093701	2017-01-24 21:36:44 UTC	Water depth [from the ground surface]	2.548128	m

## Groundwater Quality
ID	Date and Time	Parameter	Value	Unit	Methodology
As recorded in the original database.	The date and time of the measurement or sampling (yyyy-mm-dd hh:MM:ss)	One of the following: / • EC / • pH / • T / • NO3 / • Cl / • Ca / • Mg / • Na / • K / • HCO3 / • SO4 / • TDS / • FC / • FS / • E Coli / • F / • As / • U / • NH4 / • Fe / • Mn / • P	The numeric value of the measurement.	One of the following: / • (blank) / • S/m / • μS/cm / • °C / • °F / • °K / • mg/L / • ppm / • ng/L / • μg/L / • cfu per mL / • cfu per 100 ml	Explain the methodology used to collect the data, in the field and eventually in the lab.

## Abstraction-Discharge
ID	Date and Time	Parameter	Value	Unit	Methodology
As recorded in the original database.	The date and time of the measurement or sampling (yyyy-mm-dd hh:MM:ss)	One of the following: / • Abstraction / • Spring discharge	The numeric value of the measurement.	Unit must be either: / • m³/s / • m³/m / • m³/h / • m³/d / • ft³/s / • ft³/m / • ft³/h / • ft³/d / • L/s / • L/m / • L/h / • L/d	Explain the methodology used to collect the data, in the field and eventually in the lab.