## Groundwater Level
ID	Date and Time	Parameter	Value	Unit	Methodology
As recorded in the original database.	The date and time of the measurement or sampling (yyyy-mm-dd hh:MM:ss).	One of the following: / • Water depth [from the ground surface] / • Water depth [from the top of the well] / • Water level elevation a.m.s.l.	The numeric value of the measurement.	Unit must be either: / • m / • ft	Explain the methodology used to collect the data, in the field and eventually in the lab.
383713101223701	2025-01-18 19:59:00 UTC	Water depth [from the ground surface]	54.708552	m
383713101223701	2024-01-04 14:11:00 UTC	Water depth [from the ground surface]	54.54396	m
383713101223701	2023-01-05 17:39:00 UTC	Water depth [from the ground surface]	54.705504	m
383713101223701	2022-01-04 23:30:00 UTC	Water depth [from the ground surface]	54.385464	m
383713101223701	2021-01-05 22:42:00 UTC	Water depth [from the ground surface]	54.412896	m
383713101223701	2020-01-03 16:31:00 UTC	Water depth [from the ground surface]	54.309264	m
383713101223701	2019-02-20 06:00:00 UTC	Water depth [from the ground surface]	54.004464	m
383713101223701	2018-01-03 23:05:00 UTC	Water depth [from the ground surface]	54.083712	m
383713101223701	2017-01-04 23:06:12 UTC	Water depth [from the ground surface]	54.159912	m
383713101223701	2016-01-03 21:39:06 UTC	Water depth [from the ground surface]	54.059328	m
383713101223701	2016-01-03 21:33:32 UTC	Water depth [from the ground surface]	54.053232	m
383713101223701	2015-01-04 06:00:00 UTC	Water depth [from the ground surface]	54.059328	m

## Groundwater Quality
ID	Date and Time	Parameter	Value	Unit	Methodology
As recorded in the original database.	The date and time of the measurement or sampling (yyyy-mm-dd hh:MM:ss)	One of the following: / • EC / • pH / • T / • NO3 / • Cl / • Ca / • Mg / • Na / • K / • HCO3 / • SO4 / • TDS / • FC / • FS / • E Coli / • F / • As / • U / • NH4 / • Fe / • Mn / • P	The numeric value of the measurement.	One of the following: / • (blank) / • S/m / • μS/cm / • °C / • °F / • °K / • mg/L / • ppm / • ng/L / • μg/L / • cfu per mL / • cfu per 100 ml	Explain the methodology used to collect the data, in the field and eventually in the lab.

## Abstraction-Discharge
ID	Date and Time	Parameter	Value	Unit	Methodology
As recorded in the original database.	The date and time of the measurement or sampling (yyyy-mm-dd hh:MM:ss)	One of the following: / • Abstraction / • Spring discharge	The numeric value of the measurement.	Unit must be either: / • m³/s / • m³/m / • m³/h / • m³/d / • ft³/s / • ft³/m / • ft³/h / • ft³/d / • L/s / • L/m / • L/h / • L/d	Explain the methodology used to collect the data, in the field and eventually in the lab.