## Groundwater Level
ID	Date and Time	Parameter	Value	Unit	Methodology
As recorded in the original database.	The date and time of the measurement or sampling (yyyy-mm-dd hh:MM:ss).	One of the following: / • Water depth [from the ground surface] / • Water depth [from the top of the well] / • Water level elevation a.m.s.l.	The numeric value of the measurement.	Unit must be either: / • m / • ft	Explain the methodology used to collect the data, in the field and eventually in the lab.
72329	2022-01-24 09:47:00 UTC	Water depth [from the ground surface]	48.560736	m
72329	2021-02-23 07:13:00 UTC	Water depth [from the ground surface]	48.862488	m
72329	2020-01-22 07:34:00 UTC	Water depth [from the ground surface]	47.753016	m
72329	2019-02-14 16:39:00 UTC	Water depth [from the ground surface]	48.35652	m
72329	2018-01-03 17:15:00 UTC	Water depth [from the ground surface]	48.9966	m
72329	2017-01-24 10:01:00 UTC	Water depth [from the ground surface]	48.792384	m
72329	2016-01-15 07:16:00 UTC	Water depth [from the ground surface]	49.801272	m
72329	2015-01-06 18:00:00 UTC	Water depth [from the ground surface]	51.072288	m
72329	2014-09-17 09:24:00 UTC	Water depth [from the ground surface]	55.147464	m
72329	2014-04-30 06:17:00 UTC	Water depth [from the ground surface]	53.58384	m

## Groundwater Quality
ID	Date and Time	Parameter	Value	Unit	Methodology
As recorded in the original database.	The date and time of the measurement or sampling (yyyy-mm-dd hh:MM:ss)	One of the following: / • EC / • pH / • T / • NO3 / • Cl / • Ca / • Mg / • Na / • K / • HCO3 / • SO4 / • TDS / • FC / • FS / • E Coli / • F / • As / • U / • NH4 / • Fe / • Mn / • P	The numeric value of the measurement.	One of the following: / • (blank) / • S/m / • μS/cm / • °C / • °F / • °K / • mg/L / • ppm / • ng/L / • μg/L / • cfu per mL / • cfu per 100 ml	Explain the methodology used to collect the data, in the field and eventually in the lab.

## Abstraction-Discharge
ID	Date and Time	Parameter	Value	Unit	Methodology
As recorded in the original database.	The date and time of the measurement or sampling (yyyy-mm-dd hh:MM:ss)	One of the following: / • Abstraction / • Spring discharge	The numeric value of the measurement.	Unit must be either: / • m³/s / • m³/m / • m³/h / • m³/d / • ft³/s / • ft³/m / • ft³/h / • ft³/d / • L/s / • L/m / • L/h / • L/d	Explain the methodology used to collect the data, in the field and eventually in the lab.