## Groundwater Level
ID	Name	Date and Time	Parameter	Value	Unit	Methodology
As recorded in the original database.	The name of the data point.	The date and time of the measurement or sampling (yyyy-mm-dd hh:MM:ss).	One of the following: / • Water depth [from the ground surface] / • Water depth [from the top of the well] / • Water level elevation a.m.s.l.	The numeric value of the measurement.	Unit must be either: / • m / • ft	Explain the methodology used to collect the data, in the field and eventually in the lab.
142882	GARWELL-136	2024-01-02 08:40:00	Water depth [from the ground surface]	22.213824	m
142882	GARWELL-136	2023-01-25 07:51:00	Water depth [from the ground surface]	22.399752	m
142882	GARWELL-136	2022-02-10 08:53:00	Water depth [from the ground surface]	21.67128	m
142882	GARWELL-136	2021-03-03 07:44:00	Water depth [from the ground surface]	21.500592	m
142882	GARWELL-136	2020-01-28 10:56:00	Water depth [from the ground surface]	21.433536	m
142882	GARWELL-136	2019-01-28 07:40:00	Water depth [from the ground surface]	21.393912	m
142882	GARWELL-136	2018-01-17 15:58:00	Water depth [from the ground surface]	22.055328	m
142882	GARWELL-136	2017-02-02 09:32:00	Water depth [from the ground surface]	22.201632	m
142882	GARWELL-136	2016-01-26 09:00:00	Water depth [from the ground surface]	21.832824	m
142882	GARWELL-136	2015-02-03 09:00:00	Water depth [from the ground surface]	22.756368	m
142882	GARWELL-136	2014-02-25 18:00:00	Water depth [from the ground surface]	22.119336	m
142882	GARWELL-136	2013-11-13 16:45:00	Water depth [from the ground surface]	22.21992	m

## Groundwater Quality
ID	Name	Date and Time	Parameter	Value	Unit	Methodology
As recorded in the original database.	The name of the data point.	The date and time of the measurement or sampling (yyyy-mm-dd hh:MM:ss)	One of the following: / • EC / • pH / • T / • NO3 / • Cl / • Ca / • Mg / • Na / • K / • HCO3 / • SO4 / • TDS / • FC / • FS / • E Coli / • F / • As / • U / • NH4 / • Fe / • Mn / • P	The numeric value of the measurement.	One of the following: / • (blank) / • S/m / • μS/cm / • °C / • °F / • °K / • mg/L / • ppm / • ng/L / • μg/L / • cfu per mL / • cfu per 100 ml	Explain the methodology used to collect the data, in the field and eventually in the lab.

## Abstraction-Discharge
ID	Name	Date and Time	Parameter	Value	Unit	Methodology
As recorded in the original database.	The name of the data point.	The date and time of the measurement or sampling (yyyy-mm-dd hh:MM:ss)	One of the following: / • Abstraction / • Spring discharge	The numeric value of the measurement.	Unit must be either: / • m³/s / • m³/m / • m³/h / • m³/d / • ft³/s / • ft³/m / • ft³/h / • ft³/d / • L/s / • L/m / • L/h / • L/d	Explain the methodology used to collect the data, in the field and eventually in the lab.