## Groundwater Level
ID	Name	Date and Time	Parameter	Value	Unit	Methodology
As recorded in the original database.	The name of the data point.	The date and time of the measurement or sampling (yyyy-mm-dd hh:MM:ss).	One of the following: / • Water depth [from the ground surface] / • Water depth [from the top of the well] / • Water level elevation a.m.s.l.	The numeric value of the measurement.	Unit must be either: / • m / • ft	Explain the methodology used to collect the data, in the field and eventually in the lab.
G-172755	34N 32W 21BD:233317	2025-04-10 06:00:00	Water depth [from the ground surface]	43.248072	m
G-172755	34N 32W 21BD:233317	2024-03-27 06:00:00	Water depth [from the ground surface]	43.223688	m
G-172755	34N 32W 21BD:233317	2023-04-18 18:00:00	Water depth [from the ground surface]	43.38828	m
G-172755	34N 32W 21BD:233317	2019-04-23 18:00:00	Water depth [from the ground surface]	43.79976	m
G-172755	34N 32W 21BD:233317	2018-03-28 18:00:00	Water depth [from the ground surface]	43.903392	m
G-172755	34N 32W 21BD:233317	2017-04-11 18:00:00	Water depth [from the ground surface]	43.815	m
G-172755	34N 32W 21BD:233317	2016-04-15 18:00:00	Water depth [from the ground surface]	43.568112	m

## Groundwater Quality
ID	Name	Date and Time	Parameter	Value	Unit	Methodology
As recorded in the original database.	The name of the data point.	The date and time of the measurement or sampling (yyyy-mm-dd hh:MM:ss)	One of the following: / • EC / • pH / • T / • NO3 / • Cl / • Ca / • Mg / • Na / • K / • HCO3 / • SO4 / • TDS / • FC / • FS / • E Coli / • F / • As / • U / • NH4 / • Fe / • Mn / • P	The numeric value of the measurement.	One of the following: / • (blank) / • S/m / • μS/cm / • °C / • °F / • °K / • mg/L / • ppm / • ng/L / • μg/L / • cfu per mL / • cfu per 100 ml	Explain the methodology used to collect the data, in the field and eventually in the lab.

## Abstraction-Discharge
ID	Name	Date and Time	Parameter	Value	Unit	Methodology
As recorded in the original database.	The name of the data point.	The date and time of the measurement or sampling (yyyy-mm-dd hh:MM:ss)	One of the following: / • Abstraction / • Spring discharge	The numeric value of the measurement.	Unit must be either: / • m³/s / • m³/m / • m³/h / • m³/d / • ft³/s / • ft³/m / • ft³/h / • ft³/d / • L/s / • L/m / • L/h / • L/d	Explain the methodology used to collect the data, in the field and eventually in the lab.